Submitted By:

RABEEA IMTIAZ – 2025-CE-75

Assignment:

Lab No. 2

Submitted To:

Sir Mehmood

For the fulfillment of,

Circuit  Analysis Lab

Department of Computer Engineering

University of Engineering and Technology, Lahore

POST LAB QUESTIONS

### 1. What is signal generator?

A signal generator is an electronic device that produces different types of electrical signals such as sine, square, and triangular waves. It is used in laboratories to test and analyze electronic circuits by providing a known input signal.

### 2. What is resistor?

A resistor is an electronic component that limits or opposes the flow of electric current in a circuit. It is used to control voltage and current in electronic devices. The unit of resistance is Ohm (Ω).

### 3. How resistor works?

A resistor works by converting electrical energy into heat and restricting the flow of current. According to Ohm’s Law, the current through a resistor depends on the applied voltage and the resistance value.

Ohm’s Law:
V = I × R

Where V is voltage, I is current, and R is resistance.

### 4. What is your inference from the input and output waveforms on oscilloscope?

From the oscilloscope display we observe that the output waveform follows the same shape as the input waveform but its amplitude may change depending on the circuit components. This shows how the circuit affects the signal and helps us analyze voltage, frequency, and waveform behavior.

### 5. Show calculations of 7V input signal from signal generator

#### a. Voltage Calculation

Voltage = Volt/div × Number of vertical divisions

Example:
Volt/div = 2 V/div
Number of boxes = 3.5 divisions

Voltage = 2 × 3.5
Voltage = 7 V

#### b. Frequency / Period Calculation

Time period (T) = Time/div × Number of horizontal divisions

Example:
Time/div = 1 ms/div
Number of divisions = 4

T = 1 ms × 4
T = 4 ms

Frequency (f) = 1 / T

f = 1 / 0.004
f = 250 Hz

#### c. Current Calculation (Ohm’s Law)

Ohm’s Law:
I = V / R

Example:
V = 7 V
R = 1 kΩ = 1000 Ω

I = 7 / 1000
I = 0.007 A = 7 mA